## Estimate Summary
PAINTING & WALLCOVERING ESTIMATE
Venture IV Office Upfit — 4th Floor, 1730 Varsity Drive, Raleigh, NC 27606
General Contractor: LF Jennings Inc ¦ Designer: Entos Design / Freese and Nichols
Bid Date: March 18, 2026 ¦ Prepared by: Carolina Commercial Finishes
Date Prepared: March 18, 2026 — PRODUCTION-RATE ESTIMATE (Togal AI Takeoff)
SCOPE CATEGORY | LABOR HRS | LABOR $ | MATERIALS $ | DIRECT COST | % OF TOTAL
Interior Walls (P-1, P-3, P-2 Alt) | 420.1 | 11762.98 | 5329.35 | 17092.33 | 74.87%
GWB Ceilings (P-C Flat) | 15.1 | 421.88 | 296.95 | 718.83 | 3.149%
Doors & Frames (32 units) | 49 | 1372 | 195.5 | 1567.5 | 6.866%
Wallcovering (VWC-1) | 10.7 | 298.65 | 1215.95 | 1514.61 | 6.634%
Prep, Protection & Misc | 51.3 | 1437.41 | 500 | 1937.41 | 8.486%
DIRECT COST TOTALS | 546.2 | 15292.92 | 7537.75 | 22830.67 | 100%
Direct Cost |  |  |  | 22830.67
Overhead (12%) |  |  |  | 2739.68
Markup (20%) |  |  |  | 5114.07
BID PRICE (PAINTING & WALLCOVERING) |  |  |  | 30684.43
KEY METRICS
Total Paintable SF (SOW-adjusted): | 24213
Takeoff Total SF (before SOW adjustment): | 24213
Blended Rate ($/SF): | 1.27
Total Labor Hours: | 546
Estimated Duration (2-person crew): | 35 days
Estimated Duration (3-person crew): | 23 days
Labor Rate (burdened): | $28.00/hr
EXCLUSIONS
• ACT ceiling painting (existing grid/tile to remain per RCP note 5 — touch-up only)
• Open ceiling / exposed deck painting (Alternate AL5/AL6 scope only — carry as add-alternate if needed)
• Acoustic ceiling baffles (ACB-1) installation or painting
• Electrostatic painting of any surfaces
• Floor markings or floor coatings
• Pressure washing (GC scope)
• Asbestos abatement or testing
• Exterior painting (no exterior scope in this project)
• Millwork finish / plastic laminate (by millwork contractor)
• Wood door staining (WD-1 scope — by millwork contractor per finish schedule)
• Polished concrete (CON — by concrete contractor)
NOTES
• All paint products: Sherwin-Williams Pro Industrial (National Account pricing)
• P-1: SW Big Chill SW7648 Eggshell ¦ P-2: SW Snowbound Eggshell (Alt AL1) ¦ P-3: SW Distance SW6243 Eggshell
• P-C: SW Snowbound SW7004 Flat (GWB ceilings) ¦ HM Frames: SW to match P-1, Semi-Gloss
• VWC-1: Tri-Kes, Brush With Fame, AZ53418BF-Blue Hue (Breakroom 421 & Pantry 420)
• Level 5 finish at wallcovering areas provided by drywall contractor (per A3.02 note 6) — our scope is VWC install only
• Existing ACT ceiling grid: caulk holes, touch-up paint scratches at main tees (per RCP note 5) — included in Prep
• Paint all wall-mounted HVAC grilles to match adjacent wall color (per Finish Plan note 8)
• Repaint all existing HM door frames, access panels, FE cabinets, window frames (per Finish Plan note 7)
• Ceiling heights: ACT areas ~9'-0" AFF ¦ GWB Breakroom 7'-0" ¦ GWB Pantry 8'-0"
• Production rates based on new GWB construction — smooth surfaces, spray & back-roll method
• Bid price based on 23-day schedule with 3-person crew (day shift)

## Interior Walls
INTERIOR WALLS — SOW-VALIDATED BREAKDOWN
Room # | Room Name / Area | Takeoff SF | SOW % | Paint SF | Method | Coats | Paint System | Labor Hrs | Labor $ | Material $ | Total $
400-439 | P-1 Field Color — All Rooms (Offices, Open Office, Halls, Reception, Huddle, Wellness, IT, Storage, Copy, Entry) | 20966.05 | 100% | 20966.05 | Spray+BR | P+2 | SW Pro Industrial Primer + SW Big Chill SW7648 Eggshell | 393.1 | 11007.18 | 4986.92 | 15994.1
402,404,405,421 | P-3 Accent Walls — Conference, Reception, Breakroom feature walls | 1056.82 | 100% | 1056.82 | Spray+BR | P+2 | SW Pro Industrial Primer + SW Distance SW6243 Eggshell | 19.8 | 554.83 | 251.37 | 806.2
ALT AL1 | P-2 Alternate — Snowbound accent walls (per Alternate AL1) | 382.8 | 100% | 382.8 | Spray+BR | P+2 | SW Pro Industrial Primer + SW Snowbound Eggshell | 7.2 | 200.97 | 91.05 | 292.02
WALL TOTALS |  | 22405.67 |  | 22405.67 |  |  |  | 420.1 | 11762.98 | 5329.35 | 17092.33
SOW ADJUSTMENT NOTES
• P-1 takeoff includes all new GWB wall surfaces (both sides) for rooms 400-439. SOW 100% — all new construction.
• P-3 accent walls per Finish Plan I4.01: Reception 405, Conference 402 & 404, Breakroom 421 feature walls.
• P-2 (Alt AL1): Snowbound accent — only applies if Alternate AL1 is selected by owner.
• Production rate 160 SF/hr per coat pass assumes spray + back-roll on new smooth GWB. 3 passes = Primer + 2 Finish.
• TV niche walls in Conference rooms: SW Tricorn Black SW6258 — included in P-1 wall SF per section I7.01.

## Ceilings
CEILINGS — GWB ONLY (ACT & OPEN CEILING EXCLUDED)
Area / Room | Ceiling Type | Total SF | Prod Rate (SF/hr) | Coats | Paint System | Labor Hrs | Labor $ | Material $ | Total $
Breakroom 421 / Pantry 420 / Conference | New GWB Ceiling | 1381.16 | 275 | 3 | SW Pro Industrial Primer + SW Snowbound SW7004 Flat (P-C) | 15.1 | 421.88 | 296.95 | 718.83
CEILING TOTALS |  | 1381.16 |  |  |  | 15.1 | 421.88 | 296.95 | 718.83
CEILING NOTES
• GWB ceiling SF per user's Togal takeoff (1,381.16 SF) — Breakroom, Pantry, and Conference GWB areas only.
• EXCLUDED: ACT ceiling areas — existing grid/tile to remain per RCP I3.01 note 5. Touch-up included in Prep sheet.
• EXCLUDED: Open ceiling / exposed deck — only applies under Alternate AL5/AL6 (acoustic baffles). Not in base bid.
• Production rate 275 SF/hr per coat pass — spray application on new flat GWB ceiling. 3 passes = Primer + 2 Flat coats.
• GWB furr-downs above millwork: vertical face painted to match adjacent wall per Finish Plan note 4 (included in wall SF).

## Doors & Frames
DOORS & FRAMES — ITEMIZED
Item # | Description | Qty | Hrs/Unit | Total Hrs | Labor $ | Mat $/Unit | Total Mat $ | Total $
1 | Single Swing HM Doors + Frames — Prime & 2 coats Semi-Gloss both sides, prep & paint frame | 31 | 1.5 | 46.5 | 1302 | 6 | 186 | 1488
2 | Double Swing HM Door + Frame — Prime & 2 coats Semi-Gloss both sides (2 leaves), prep & paint frame | 1 | 2.5 | 2.5 | 70 | 9.5 | 9.5 | 79.5
DOOR TOTALS |  | 32 |  | 49 | 1372 |  | 195.5 | 1567.5
DOOR & FRAME NOTES
• All HM frames: repaint per Finish Plan note 7 — prime + 2 coats semi-gloss to match P-1.
• Includes: access panels, FE cabinets, window frames per Finish Plan note 7.
• EXCLUDED: Wood doors (WD-1 walnut stain) — by millwork contractor per finish schedule.
• 1.5 hrs/unit for single door includes: light sand, spot prime, 2 coats both sides + frame brush work.

## Wallcovering
WALLCOVERING — VWC-1
Item # | Description | SF / Qty | Unit | Prod Rate | Labor Hrs | Labor $ | Material $ | Total $
1 | VWC-1: Tri-Kes, Brush With Fame AZ53418BF-Blue Hue — Breakroom 421 & Pantry 420 | 426.65 | SF | 40 SF/hr | 10.7 | 298.65 | 149.33 | 447.98
2 | Wallcovering material — Tri-Kes Brush With Fame (supply) | 426.65 | SF | — | 0 | 0 | 1066.62 | 1066.62
VWC TOTALS |  |  |  |  | 10.7 | 298.65 | 1215.95 | 1514.61
WALLCOVERING NOTES
• Level 5 drywall finish at VWC areas is by drywall contractor per Partition Plan A3.02 note 6.
• Mud-in corner trim (Gordon Inc. Final Forms I #966-FT-12) at outside corners per Finish Plan transition schedule.
• Material pricing estimated at $2.50/SF — verify with Tri-Kes rep for exact roll pricing and waste factor.
• Production rate 40 SF/hr includes: layout, cutting, pasting, hanging, trimming, rolling seams.

## Prep & Misc
PREP, MISC & EQUIPMENT
Item # | Description | Qty | Unit | Rate/Hr | Labor Hrs | Labor $ | Material $ | Total $
1 | Caulking — new wall joints, corners, ceiling transitions | 1 | LS | $28.00 | 11.2 | 313.68 | 75 | 388.68
2 | Masking & Protection — floors, windows, fixtures, millwork | 1 | LS | $28.00 | 8 | 224 | 120 | 344
3 | Mobilization / Demobilization — crew travel, equipment setup | 1 | LS | $28.00 | 6 | 168 | 0 | 168
4 | Daily Cleanup — drop cloths, debris removal, tool maintenance | 1 | LS | $28.00 | 8 | 224 | 0 | 224
5 | ACT Grid Touch-up — caulk holes, touch-up scratches at main tees (per RCP note 5) | 1 | LS | $28.00 | 6 | 168 | 45 | 213
6 | Level 5 Wall Prep at VWC areas — skim coat, sand smooth for wallcovering | 1 | LS | $28.00 | 2.1 | 59.73 | 30 | 89.73
7 | Final Punch / Touch-up — walk-through corrections, final inspection | 1 | LS | $28.00 | 10 | 280 | 50 | 330
8 | Equipment & Consumables — sprayer tips, rollers, brushes, tape, plastic | 1 | LS | — | 0 | 0 | 150 | 150
PREP TOTALS |  |  |  |  | 51.3 | 1437.41 | 500 | 1937.41